**BALANCED VENTILATION PRICING LIST EXAMPLE**

(If you are unfamiliar with balanced ventilation systems, please see the information under “Equipment’’ at <https://www.efficiencyvermont.com/trade-partners/technical-resources>)

|  |  |
| --- | --- |
| **Typical exhaust-only system** | **$** |
| Cost of all bath fans in a typical home | 600 |
| Cost of programmable timers to meet RBES | 150 |
| Cost of ductwork, terminations, etc. | 100 |
| Labor (ductwork, wiring, etc.) | 350 |
| Total | $1,200 |

|  |  |
| --- | --- |
| **Dedicated balanced ventilation system**\* | **$** |
| Cost of high efficiency HRV or ERV\* | 1,300 |
| Cost of ductwork, terminations, etc. | 900 |
| Cost of any bath fans still installed (if any) | 300 |
| Labor (ductwork, wiring, etc.) | 1,700 |
| Total | $4,200 |

\*A system that is not tied in with heating ductwork (if it exists)