## Leak Detection Record
Facility________________________________________
Auditor/Company_______________________________
Date ___________________________________________
[6 empty] | Total cfm | 17.6
| Tag # | General Location | Location/Machine | Leaking Component | Ultrasonic Detector Decibels | Pressure at leak (psi) | Leak Rate (CFM) | Hours/day | Days/year | Note
Example | 1 | Packaging | Filler #18 | Threaded outlet of Regulator to Filler | 33 | 75 | 1.1 | 24 | 365
Example | 2 | Finishing | CNC #A3 | Flex hose at pipe clamp for quick connect to blow-off nozzle | 50 | 100 | 10.6 | 24 | 365 | Not regulated, plant air
Example | 3 | Machining | Parts washer 2 | Air line to washer's air knife, compression coupling is cracked | 68 | 80 | 5 | 9 | 250 | Auto shutoff of air when machine powered down
Example | 4 | Compressor room | Filter after dryer | Inlet Pressure gauge before filter, top of tee for gauge | 21 | 100 | 0.9 | 24 | 365 | Gauge looks broken, not reading pressure